## Sheet1
Momentary Change Detect (MCD) |  |  | Simple Status (SS)
Frame | Index | Description | Frame | Index | Description
0 | 0 | BK 1 VCB | 0 | 0 | I87 LBSW | ADAPTIVE RELAYING | OFF | SPARE
0 | 1 | 47417 VCB | 0 | 1 | I87 LBSW | ADAPTIVE RELAYING | ON | SPARE
0 | 2 | BT VCB | 0 | 2 | NO 6 LBSW | H60-2 LBSW | OPEN | BK 1 MW
0 | 3 | BK 2 VCB | 0 | 3 | NO 6 LBSW | H60-2 LBSW | CLOSE | BK 1 MVAR
0 | 4 | 47418 VCB | 0 | 4 | A53 LBSW | H60-3 LBSW | OPEN | BK 2 MW
0 | 5 | 47419 VCB | 0 | 5 | A53 LBSW | H60-3 LBSW | CLOSE | BK 2 MVAR
0 | 6 | 47416 VCB | 0 | 6 | BK 1 ALRM | 67291 OCB | OPEN | 47416 phase A amps
0 | 7 | 47415 VCB | 0 | 7 | BK 2 ALRM | 67291 OCB | CLOSE | 47416 phase B amps
0 | 8 | DIAL IN ACCESS | 0 | 8 | CAP 1 VCB | 67292 VCB | OPEN | 47416 phase C amps
0 | 9 | BK 1 CKT INT CI-2 | 0 | 9 | DX RELAY FAIL | 67292 VCB | CLOSE | 47417 phase A amps
0 | 10 | SPARE | 0 | 10 | LOSS OF POTENTIAL | SPARE |  | 47417 phase B amps
0 | 11 | SPARE | 0 | 11 | BK 1 CKT INT CI-2/SEL TRBL | SPARE |  | 47417 phase C amps
0 | 12 | SPARE | 0 | 12 | ADAPTIVE RELAYING | SPARE
0 | 13 | SPARE | 0 | 13 | LOCAL/REMOTE | SPARE
|  |  | 0 | 14 | UNDEFINED | SPARE
|  |  | 0 | 15 | UNDEFINED | SPARE
|  |  | 0 | 16 | UNDEFINED
|  |  | 0 | 17 | UNDEFINED
|  |  | 0 | 18 | UNDEFINED
|  | UNDEFINED | [6 empty] | c31 was undefined but I deleted it for the program to create the correct number of control points. Need to put in an if statement to not create a point if the point is undefined or undef. . Etc. . . | F31 corresponds with C31
|  | UNDEFINED | [6 empty] | c32 was undefined but I deleted it for the program to create the correct number of control points | F32 corresponds with C32
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
SPT COMM FAIL