## Sheet1
BK 1 VCB | CD | ADAPTIVE RELAYING | OFF | SPARE
47417 VCB | CD | ADAPTIVE RELAYING | ON | SPARE
BT VCB | CD | H60-2 LBSW | OPEN | BK 1 MW
BK 2 VCB | CD | H60-2 LBSW | CLOSE | BK 1 MVAR
47418 VCB | CD | H60-3 LBSW | OPEN | BK 2 MW
47419 VCB | CD | H60-3 LBSW | CLOSE | BK 2 MVAR
47416 VCB | CD | 67291 OCB | OPEN | 47416 phase A amps
47415 VCB | CD | 67291 OCB | CLOSE | 47416 phase B amps
DIAL IN ACCESS | CD | 67292 VCB | OPEN | 47416 phase C amps
BK 1 CKT INT CI-2 | CD | 67292 VCB | CLOSE | 47417 phase A amps
SPARE | CD | SPARE |  | 47417 phase B amps
SPARE | CD | SPARE |  | 47417 phase C amps
SPARE | CD | SPARE
SPARE | CD | SPARE
I87 LBSW | NL | SPARE
I87 LBSW | NL | SPARE
NO 6 LBSW | NL
NO 6 LBSW | NL
A53 LBSW | NL
A53 LBSW | NL
BK 1 ALRM | NL
BK 2 ALRM | NL
CAP 1 VCB | NL
DX RELAY FAIL | NL
LOSS OF POTENTIAL | NL
BK 1 CKT INT CI-2/SEL TRBL | NL
ADAPTIVE RELAYING | NL
LOCAL/REMOTE | NL
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED |  |  |  |  | c31 was undefined but I deleted it for the program to create the correct number of control points. Need to put in an if statement to not create a point if the point is undefined or undef. . Etc. . . | F31 corresponds with C31
UNDEFINED |  |  |  |  | c32 was undefined but I deleted it for the program to create the correct number of control points | F32 corresponds with C32
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
SPT COMM FAIL | internal