## Sheet1
67291 OCB | CD | ADAPTIVE RELAYING | SPARE | OFF
67292 VCB | CD | ADAPTIVE RELAYING | SPARE | ON
SPARE | CD | H60-2 LBSW | 67291 MW | OPEN
SPARE | CD | H60-2 LBSW | 67291 MVAR | CLOSE
SPARE | CD | H60-3 LBSW | 67292 MW | OPEN
SPARE | CD | H60-3 LBSW | 67292 MVAR | CLOSE
SPARE | CD | 67291 OCB | SPARE | OPEN
SPARE | CD | 67291 OCB | SPARE | CLOSE
SPARE | CD | 67292 VCB |  | OPEN
SPARE | CD | 67292 VCB |  | CLOSE
SPARE | CD | SPARE
SPARE | CD | SPARE
SPARE | CD | SPARE
SPARE | CD | SPARE
H60-2 LBSW | NL | SPARE
H60-2 LBSW | NL | SPARE
H60-3 LBSW | NL
H60-3 LBSW | NL
SPARE-SCAN1 | NL
ADAPTIVE RELAYING | NL
SPARE | NL
SPARE | NL
SPARE | NL
SPARE | NL
SPARE | NL
SPARE | NL
BATTERY | NL
LOCAL/REMOTE | NL
SPARE
SPARE
SPARE
SPARE
SPARE
SPARE |  |  |  |  | c31 was undefined but I deleted it for the program to create the correct number of control points. Need to put in an if statement to not create a point if the point is undefined or undef. . Etc. . . | F31 corresponds with C31
SPARE |  |  |  |  | c32 was undefined but I deleted it for the program to create the correct number of control points | F32 corresponds with C32
SPARE
SPARE
SPARE
SPARE
SPARE
SPARE
SPARE
SPT COMM FAIL | internal