## Sheet1
Momentary Change Detect (MCD) OR 2 Bit Binary (2B) OR (II) |  |  | Simple Status (SS) OR (NL) OR (I) |  |  | Control |  |  |  | Analog
Frame/Sequence | Point Index | Description | Frame/Sequence | Point Index | Description | Group | Point Index | Point Description | Function | Frame | Point Index | Point Description
0 | 16 | BK 1 VCB | 30 | 0 | LOCAL/REMOTE | 0 | 0 | M139-1 LBSW | CLOSE | 80 | 0 | SPARE
0 | 17 | BT VCB | 30 | 1 | BATTERY | 0 | 0 | M139-1 LBSW | OPEN | 81 | 1 | SPARE
0 | 18 | 47426 VCB | 30 | 2 | M139-1 LBSW | 0 | 1 | NO 6 LBSW | CLOSE | 82 | 2 | BANK 2 MW
0 | 19 | 47427 VCB | 30 | 3 | M139-1 LBSW | 0 | 1 | NO 6 LBSW | OPEN | 83 | 3 | BANK 2 MVAR
0 | 20 | BK 2 VCB | 30 | 4 | NO 6 LBSW | 0 | 2 | M139-2 LBSW | CLOSE | 84 | 4 | BANK 2 kV
0 | 21 | 47428 VCB | 30 | 5 | NO 6 LBSW | 0 | 2 | M139-2 LBSW | OPEN | 85 | 5 | BANK 1 MW
0 | 22 | 47429 VCB | 30 | 6 | M139-2 LBSW | 0 | 3 | BK 1 VCB | CLOSE | 86 | 6 | BANK 1 MVAR
0 | 23 | SPARE | 30 | 7 | M139-2 LBSW | 0 | 3 | BK 1 VCB | OPEN
0 | 24 | SPT COMM FAIL | 30 | 8 | BK 1 | 0 | 4 | BT VCB | CLOSE
|  |  | 30 | 9 | BK 2 | 0 | 4 | BT VCB | OPEN
|  |  | 30 | 10 | ADAPTIVE RELAYING | 0 | 5 | 47426 VCB | CLOSE
|  |  | 30 | 11 | 5PCT VOLT RED | 0 | 5 | 47426 VCB | OPEN
|  |  | 30 | 12 | SPARE | 0 | 6 | 47427 VCB | CLOSE
|  |  | 30 | 13 | SPARE | 0 | 6 | 47427 VCB | OPEN
|  |  | 30 | 14 | SPARE | 0 | 7 | BK 2 VCB | CLOSE
|  |  | 30 | 15 | SPARE | 0 | 7 | BK 2 VCB | OPEN
[6 empty] | 0 | 8 | 47428 VCB | CLOSE
[6 empty] | 0 | 8 | 47428 VCB | OPEN
[6 empty] | 0 | 9 | 47429 VCB | CLOSE
[6 empty] | 0 | 9 | 47429 VCB | OPEN
[6 empty] | 0 | 10 | ADAPTIVE RELAYING | ON
[6 empty] | 0 | 10 | ADAPTIVE RELAYING | OFF
[6 empty] | 0 | 11 | 5PCT VOLT RED | ON
[6 empty] | 0 | 11 | 5PCT VOLT RED | OFF
[6 empty] | 0 | 12 | Undefined
[6 empty] | 0 | 12 | Undefined
[6 empty] | 0 | 13 | Undefined
[6 empty] | 0 | 13 | Undefined
[6 empty] | 0 | 14 | Undefined
[6 empty] | 0 | 14 | Undefined
[6 empty] | 0 | 15 | Undefined
[6 empty] | 0 | 15 | Undefined