## Sheet1
BK 1 VCB | CD | DIAL IN ACCESS | SPARE | 0 | ENABLE
47417 VCB | CD | DIAL IN ACCESS | SPARE | 0 | DISABLE
BT VCB | CD | I87 LBSW | BK 1 MW | 0 | OPEN
BK 2 VCB | CD | I87 LBSW | BK 1 MVAR | 0 | CLOSE
47418 VCB | CD | NO 6 LBSW | BK 2 MW | 1 | OPEN
47419 VCB | CD | NO 6 LBSW | BK 2 MVAR | 1 | CLOSE
47416 VCB | CD | A53 LBSW | 47416 phase A amps | 1 | OPEN
47415 VCB | CD | A53 LBSW | 47416 phase B amps | 1 | CLOSE
DIAL IN ACCESS | CD | BK 1 VCB | 47416 phase C amps | 2 | OPEN
BK 1 CKT INT CI-2 | CD | BK 1 VCB | 47417 phase A amps | 2 | CLOSE
SPARE | CD | 47417 VCB | 47417 phase B amps | 2 | OPEN
SPARE | CD | 47417 VCB | 47417 phase C amps | 2 | CLOSE
SPARE | CD | BT VCB |  |  | OPEN
SPARE | CD | BT VCB |  |  | CLOSE
I87 LBSW | NL | BK 2 VCB |  |  | OPEN
I87 LBSW | NL | BK 2 VCB |  |  | CLOSE
NO 6 LBSW | NL | 47418 VCB |  |  | OPEN
NO 6 LBSW | NL | 47418 VCB |  |  | CLOSE
A53 LBSW | NL | 47419 VCB |  |  | OPEN
A53 LBSW | NL | 47419 VCB |  |  | CLOSE
BK 1 ALRM | NL | 47416 VCB |  |  | OPEN
BK 2 ALRM | NL | 47416 VCB |  |  | CLOSE
CAP 1 VCB | NL | CAP 1 VCB |  |  | OPEN
DX RELAY FAIL | NL | CAP 1 VCB |  |  | CLOSE
LOSS OF POTENTIAL | NL | 47415 VCB |  |  | OPEN
BK 1 CKT INT CI-2/SEL TRBL | NL | 47415 VCB |  |  | CLOSE
ADAPTIVE RELAYING | NL | BK 1 CKT INT CI-2 |  |  | OPEN
LOCAL/REMOTE | NL | BK 1 CKT INT CI-2 |  |  | CLOSE
UNDEFINED |  | ADAPTIVE RELAYINIG |  |  | OFF
UNDEFINED |  | ADAPTIVE RELAYINIG |  |  | ON
UNDEFINED |  | UNDEFINED
UNDEFINED |  | UNDEFINED
UNDEFINED
UNDEFINED | [5 empty] | c31 was undefined but I deleted it for the program to create the correct number of control points. Need to put in an if statement to not create a point if the point is undefined or undef. . Etc. . . | F31 corresponds with C31
UNDEFINED | [5 empty] | c32 was undefined but I deleted it for the program to create the correct number of control points | F32 corresponds with C32
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
SPT COMM FAIL | internal