## Sheet1
BK 1 VCB | CD | DIAL IN ACCESS | ENABLE | SPARE
47417 VCB | CD | DIAL IN ACCESS | DISABLE | SPARE
BT VCB | CD | I87 LBSW | OPEN | BK 1 MW
BK 2 VCB | CD | I87 LBSW | CLOSE | BK 1 MVAR
47418 VCB | CD | NO 6 LBSW | OPEN | BK 2 MW
47419 VCB | CD | NO 6 LBSW | CLOSE | BK 2 MVAR
47416 VCB | CD | A53 LBSW | OPEN | 47416 phase A amps
47415 VCB | CD | A53 LBSW | CLOSE | 47416 phase B amps
DIAL IN ACCESS | CD | BK 1 VCB | OPEN | 47416 phase C amps
BK 1 CKT INT CI-2 | CD | BK 1 VCB | CLOSE | 47417 phase A amps
SPARE | CD | 47417 VCB | OPEN | 47417 phase B amps
SPARE | CD | 47417 VCB | CLOSE | 47417 phase C amps
SPARE | CD | BT VCB | OPEN
SPARE | CD | BT VCB | CLOSE
I87 LBSW | NL | BK 2 VCB | OPEN
I87 LBSW | NL | BK 2 VCB | CLOSE
NO 6 LBSW | NL | 47418 VCB | OPEN
NO 6 LBSW | NL | 47418 VCB | CLOSE
A53 LBSW | NL | 47419 VCB | OPEN
A53 LBSW | NL | 47419 VCB | CLOSE
BK 1 ALRM | NL | 47416 VCB | OPEN
BK 2 ALRM | NL | 47416 VCB | CLOSE
CAP 1 VCB | NL | CAP 1 VCB | OPEN
DX RELAY FAIL | NL | CAP 1 VCB | CLOSE
LOSS OF POTENTIAL | NL | 47415 VCB | OPEN
BK 1 CKT INT CI-2/SEL TRBL | NL | 47415 VCB | CLOSE
ADAPTIVE RELAYING | NL | BK 1 CKT INT CI-2 | OPEN
LOCAL/REMOTE | NL | BK 1 CKT INT CI-2 | CLOSE
UNDEFINED |  | ADAPTIVE RELAYINIG | OFF
UNDEFINED |  | ADAPTIVE RELAYINIG | ON
UNDEFINED |  | UNDEFINED
UNDEFINED |  | UNDEFINED
UNDEFINED
UNDEFINED |  |  |  |  | c31 was undefined but I deleted it for the program to create the correct number of control points. Need to put in an if statement to not create a point if the point is undefined or undef. . Etc. . . | F31 corresponds with C31
UNDEFINED |  |  |  |  | c32 was undefined but I deleted it for the program to create the correct number of control points | F32 corresponds with C32
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
UNDEFINED
SPT COMM FAIL | internal