## Sheet1
Momentary Change Detect (MCD) OR 2 Bit Binary (2B) |  |  | Simple Status (SS) |  |  | Control |  |  |  | Analog
Frame | Point Index | Description | Frame | Point Index | Description | Group | Point Index | Point Description | Function | Frame | Point Index | Point Description
00 | 16 | 24687 ACB | 0 | 0 | LOCAL/REMOTE | 0 | 0 | SPARE |  | 0 | 0 | SPARE
00 | 17 | 24688 ACB | 0 | 1 | BATTERY | 0 |  | SPARE |  | 0 | 1 | SPARE
00 | 18 | 24689 ACB | 0 | 2 | Y25-1 LBSW | 0 | 1 | ADAPTIVE RELAYING | ON | 0 | 2 | 4.8 KV
00 | 19 | BK1 OIL SPILL | 0 | 3 | Y25-1 LBSW | 0 |  | ADAPTIVE RELAYING | OFF | 0 | 3 | 12.5 KV
00 | 20 | BK 2 VCB | 0 | 4 | Y25-2 LBSW | 0 | 2 | Y25-1 LBSW | CL | 1 | 4 | BK 2 MW
00 | 21 | 27690 VCB | 0 | 5 | Y25-2 LBSW | 0 |  | Y25-1 LBSW | OP | 1 | 5 | BK 2 MVAR
00 | 22 | 27691 VCB | 0 | 6 | NO 6 LBSW | 0 | 3 | Y25-2 LBSW | CL | 1 | 6 | 27690 MW
00 | 23 | 27692 VCB | 0 | 7 | NO 6 LBSW | 0 |  | Y25-2 LBSW | OP | 1 | 7 | 27690 MVAR
00 | 24 | BT-FUT VCB | 0 | 8 | 5PCT VOLT RED | 0 | 4 | 24687 ACB | CL | 2 | 8 | 27690 KV
00 | 25 | SPARE | 0 | 9 | DX RELAY FAIL | 0 |  | 24687 ACB | OP | 2 | 9 | 27691 MW
00 | 26 | SPARE | 0 | 10 | BK 2 ALMS | 0 | 5 | 24688 ACB | CL | 2 | 10 | 27691 MVAR
00 | 27 | SPARE | 0 | 11 | ADAPTIVE RELAYING | 0 |  | 24688 ACB | OP | 2 | 11 | 27691 KV
00 | 28 | SPARE | 0 | 12 | SPARE | 0 | 6 | 24689 ACB | CL | 3 | 12 | 27692 MW
00 | 29 | SPARE | 0 | 13 | SPARE | 0 |  | 24689 ACB | OP | 3 | 13 | 27692 MVAR
00 | 30 | SPARE | 0 | 14 | SPARE | 0 | 7 | NO 6 LBSW | CL | 3 | 14 | 27692 KV
00 | 31 | SPARE | 0 | 15 | SPARE | 0 |  | NO 6 LBSW | OP | 3 | 15 | SPARE
|  |  |  | 32 | SPT COMM FAIL | 1 | 8 | BK 2 VCB | CL
[6 empty] | 1 |  | BK 2 VCB | OP
[6 empty] | 1 | 9 | 27690 VCB | CL
[6 empty] | 1 |  | 27690 VCB | OP
[6 empty] | 1 | 10 | 27691 VCB | CL
[6 empty] | 1 |  | 27691 VCB | OP
[6 empty] | 1 | 11 | 27692 VCB | CL
[6 empty] | 1 |  | 27692 VCB | OP
[6 empty] | 1 | 12 | BT-FUT VCB | CL
[6 empty] | 1 |  | BT-FUT VCB | OP
[6 empty] | 1 | 13 | 5PCT VOLT RED | ON
[6 empty] | 1 |  | 5PCT VOLT RED | OFF
[7 empty] | 14 | SPARE
SPARE
[7 empty] | 15 | SPARE
SPARE